## Read me
Model template
What this is |  | A starting point for your own model, with the same three parts as the example models: types, plant and bindings.
What is in it now |  | Empty, ready for your own model. The three type sheets keep the example's types as a start: keep the ones you need, change the rest. The example copy (model-template.xlsx) shows a filled-in model.
Yellow cells |  | Yours to fill in. Most columns offer a drop-down list of the names already defined.
Grey cells |  | Formulas. Do not type in them. Each Check column shows "ok" or says what is wrong with that row.
Room |  | Each sheet checks rows 2 to 201. Start small: about ten assets is enough.
Topics |  | Built for you on the Bindings sheet, the same way as the example files: a measurement goes under the prefix below, then the asset's path and its short name; a state or alarm goes under the second prefix, then the top level, the asset and its short name. An asset can have a shorter name for topics. Nothing is typed twice.
Topic prefix for measurements | example/telemetry/wastewater | Change this to your own.
Topic prefix for states and alarms | example/events/wastewater | Change this to your own.
Which copy is the source |  | This spreadsheet is a starting point. Once the model is kept as files or in a tool, name that copy as the source and stop editing this one.
Never put in this file |  | Passwords, network addresses, real locations of critical equipment. If you fill in the Bindings sheet with real addresses, keep the file inside your organisation.
Left out to keep it small |  | Records such as procedures and drawings, quality limits, and derived values. The example files show how to add them later.
Everything here is invented |  | No name, tag, topic or value describes a real system.
Sheet | Rows filled | Rows with a problem
1 Types | 18 | 0
1 Measurement types | 12 | 0
1 Relationship types | 4 | 0
2 Assets | 0 | 0
2 Measurements | 0 | 0
2 Relationships | 0 | 0
3 Bindings | 0 | 0
All sheets | 34 | 0
Measurements not yet on the Bindings sheet | 0 | Not a problem during a first session. Fill these in afterwards.
What the checks catch |  | Names that do not match exactly (capitals count), duplicates, an asset with no parent that is not a site or network, a parent loop or more than five levels, a kind or measurement type that is not defined, a missing or wrong unit, and a topic used twice.
What they cannot catch |  | Whether a relationship is true, or whether a value is bound to the right address. Only people who know the plant can check that.

## 1 Types
Type | Is a kind of (extends) | What it means | Shared or local | Can sit at the top, with no parent | Standard followed, or to check first | Check (do not edit)
Location |  | A place: a site, a linear network, or a hydraulic region | Shared |  |  | ok
Function |  | A named slot in the site -> area -> equipment tree | Shared |  |  | ok
Asset |  | A physical thing with its own identity, installed at one Function | Shared |  |  | ok
Site | Location | ISA-95 site: a plant or a station | Shared | yes | ISA-95 equipment hierarchy | ok
Network | Location | A linear network (transmission mains) operated as one place | Shared | yes |  | ok
Area | Function | ISA-95 area: a process area of a site | Shared |  | ISA-95 equipment hierarchy | ok
Equipment | Function | A position in an area | Shared |  | ISA-95 equipment hierarchy (the levels below area) | ok
Reservoir | Equipment | A storage cell, clearwell or reservoir | Shared |  | Smart Data Models for water | ok
Pump | Equipment | A pump POSITION (duty role, run state, speed) | Shared |  | OPC 40223, OPC UA for Pumps and Vacuum Pumps | ok
Main | Equipment | A section of transmission main between two places | Shared |  | Smart Data Models for water | ok
Instrument | Asset | An online analyzer or transmitter | Shared |  | ISA-5.1, instrument symbols and identification | ok
WetWell | Reservoir | A chamber that collects sewage ahead of the pumps | Local |  |  | ok
Forcemain | Main | A pressurised sewer from a pumping station | Local |  |  | ok
Screen | Equipment | A screen that removes debris at the plant inlet | Local |  |  | ok
GritChamber | Equipment | A chamber where sand and grit settle out after screening | Local |  |  | ok
Blower | Equipment | A blower that supplies air to an aeration basin | Local |  |  | ok
AerationBasin | Equipment | A basin where air is added for biological treatment | Local |  |  | ok
Clarifier | Equipment | A tank where solids settle out | Local |  |  | ok

## 1 Measurement types
Measurement type | Kind | Unit (blank for a state or alarm) | What it means | Check (do not edit)
Pressure | Measurement | kPa | Water pressure | ok
Flow | Measurement | L/s | Volumetric flow rate | ok
Level | Measurement | m | Liquid level | ok
DissolvedOxygen | Measurement | mg/L | Dissolved oxygen | ok
DifferentialLevel | Measurement | m | Difference in level across a screen | ok
MotorCurrent | Measurement | A | Motor current | ok
PumpRunState | State or alarm |  | Pump run state | ok
PumpTripAlarm | State or alarm |  | Pump protection trip | ok
FailToStartAlarm | State or alarm |  | A machine was commanded to start and did not | ok
MainState | State or alarm |  | Operating state of a transmission main section | ok
HighLevelAlarm | State or alarm |  | Level above its alarm limit | ok
HighHighLevelAlarm | State or alarm |  | Level above its second, higher alarm limit | ok

## 1 Relationship types
Relationship | Its reverse | What it means | Check (do not edit)
Feeds | FedBy | The process stream (water or sewage) passes from one position to the next | ok
SuppliesAir | AirSuppliedBy | A compressor or blower supplies air to a vessel or basin | ok
Protects | ProtectedBy | A protective device guards a position (a surge vessel guards a main) | ok
Monitors | MonitoredBy | An instrument observes a position | ok

## 2 Assets
Asset ID | Display name | Type | Parent (blank only for a site or network) | Name in topics (optional; blank uses the ID) | Topic path (do not edit) | Check (do not edit) | Parent | Its parent | Next up | Next up | Too deep or a loop? | Top level

## 2 Measurements
Measurement ID | Kind | Asset it belongs to | What it measures (from the Measurement types sheet) | Unit (blank for a state or alarm) | Short name (last part of the topic) | Display name | On the Bindings sheet? (do not edit) | Check (do not edit)

## 2 Relationships
From (asset ID) | Relationship | To (asset ID) | Check (do not edit)

## 3 Bindings
Measurement ID | Address at the source | Historian tag | Topic (built for you; do not edit) | Check (do not edit)